SECTION 10

WATER CONSERVATION REQUIREMENTS

10.01 WATER CONSERVATION REQUIREMENTS

These requirements are set forth to insure the most efficient use of the water resources available to the

District and to enable the water system to be operated in the most cost effective manner for the benefit

of all of the District water customers.

10.02 REQUIREMENTS

A. Requirements For New Single Family Uses

All new single family uses shall be equipped with approved water saving shower heads, water

saving aerators on kitchen sinks and lavatories, water saving toilets, and pressure reducing

valves when such a device is required to maintain 60 PSI or less within the structure.

B. Requirements For New Multi-Family Uses

All new multi-family uses shall be equipped with approved water saving shower heads, water

saving aerators on kitchen sinks and lavatories, water saving toilets, and pressure reducing

valves when such a device is required to maintain 60 PSI or less within the structures.

C. Requirements For New Public Uses

All new public uses shall be equipped with approved water saving shower heads, water saving

aerators on kitchen sinks and lavatories, self-closing valves on lavatories, water saving toilets,

and pressure reducing valves when such a device is required to maintain 60 PSI or less within

the system.

D. Insulation of Water Pipes in New Construction

All hot water pipes installed within any new construction shall be insulated to minimum

Placer County Building Department and Health Department standards.

E. Requirements For Existing Single Family Uses

Ordinance No 297, Amending Ordinance No. 292 and Revoking all previous ordinances, Adopted by Board of

Directors January 7, 1997

26

All single family uses existing prior to January 1, 1978 shall be modified so as to be equipped

with approved water saving shower heads, water saving aerators in place of existing aerators

on kitchen sinks and lavatories, and water saving toilets or water closet reservoir devices,

provided that such devices are offered to be furnished by the District.

F. Requirements For Existing Multi-Family Uses

All multi-family uses existing prior to January 1, 1977 shall be modified so as to be equipped

with approved water saving shower heads, water saving aerators in place of existing aerators

on kitchen sinks and lavatories, and water saving toilets or water closet reservoir devices,

provided that such devices are offered to be furnished by the District.

G. Requirements For Existing Public Uses

All public uses existing prior to January 1, 1977 shall be modified so as to be equipped with

approved water saving shower heads, water saving aerators in place of existing aerators on

kitchen sinks and lavatories, self-closing valves on lavatories, and water saving toilets or

water closet reservoir devices, provided that such devices, except for self-closing valves in

lavatories, are furnished by the District.

H. Periodic Inspection and Maintenance

The owners of all new and existing single-family, multi-family and public uses shall allow the

District the right of inspection of all fixtures or devices. If said fixtures or devices are found

to not meet minimum standards set forth herein, said owners shall, within fourteen (14) days,

repair or replace any devices not meeting minimum standards.

SECTION 13

DROUGHT CONDITIONS

13.01 GENERAL

Conditions of drought are not uncommon in the area served by the District by action of the District

Board, drought conditions may be declared.

13.02

ACTIONS OF THE DISTRICT

In the event of declared drought conditions, the District will take such actions as necessary to insure

the available District water supply is utilized for the benefit of the greatest number of District

customers. The District may enact water rationing, time of use schedules, limitation of use, or such

other measures as deemed necessary to insure continued water availability.

13.03 CUSTOMER RESPONSIBILITY

It will be the express responsibility of the customer to carefully observe all rules, regulations and

prohibitions set by the District in the event of declared drought conditions. The unavailability of water

Ordinance No 297, Amending Ordinance No. 292 and Revoking all previous ordinances, Adopted by Board of

Directors January 7, 1997

34

or a prohibition of water use at certain times shall not relieve the customer of paying the fees set by the

District as shown in EXHIBIT "A", WATER RATES.