# How to Assemble Your Security VA: Information for Submission to EPA

Cover page:  System name, ID#, address, phone number, point of contact

System description and characterization narrative

Completed Risk Assessment Sheet(s)

Completed Inventory of System Critical Components

Completed Security Vulnerability Self-Assessment for Small Water Systems

Completed Prioritization of Needed Actions

Sample Certification of Conduct of a VA

VULNERABILITY ASSESSMENT CERTIFICATION

| Public Water System ID Number: | 12345678 |
| --- | --- |
| System Name: | XYZ Water System |
| City where System is Located: | Nowhere City |
| State: | CA |
| Printed Name of Person Authorized to Sign this Certification on Behalf of System: | ## Jonathan Doe |
| Title: | Water Manager |
| Address: | 555 Any Street |
| City: | Nowhere City |
| State: | CA |
| ZIP Code: | 55555 |
| Phone: | 916-555-1212 |
| FAX: | 916-555-1313 |
| Email: | xyz@nowherecity.org |

I certify to the Administrator of the U.S. Environmental Protection Agency that this community water system has conducted a Vulnerability Assessment that complies with Section 1433(a)(1) of the Safe Drinking Water Act, as amended by the Public Health Security and Bioterrorism Preparedness and Response Act of 2002 (Public Law 107-188, Title IV – Drinking Water Security and Safety).

I further certify that this document and all attachments were prepared under my direction or supervision.  I am aware that there are significant penalties for submitting false information (Safe Drinking Water Act (42 U.S.C. 300f et seq.)).

The Vulnerability Assessment this community water system conducted addresses the following components of my system (Check YES if the CWS has the element in its system; check N/A if the element is not applicable to the system.):

| YES | N/A |  |
| --- | --- | --- |
|  |  | pipes and constructed conveyances |
|  |  | physical barriers |
|  |  | water collection |
|  |  | pretreatment |
|  |  | treatment |
|  |  | storage |
|  |  | distribution facilities |
|  |  | electronic, computer or other automated systems which are utilized by the public water system |
|  |  | the use, storage, or handling of various chemicals |
|  |  | the operation and maintenance of such system |

Other components in the CWS that were evaluated under this VA (list those applicable)

Signed:	  Date:

VULNERABILITY ASSESSMENT CERTIFICATION, continued

| Primary Contact person that EPA can call if there are questions about this Certification and VA submission: |  |
| --- | --- |
| Name: | Jonathan Doe |
| Address (if different than that of the Authorized Representative): |  |
| Phone: |  |
| FAX: |  |
| Email: | JonathanD@nowherecity.org |

| Alternate Contact Person: |  |
| --- | --- |
| Name: | ## Jane Doe |
| Address (if different than that of the Authorized Representative): | 200 Sleepy Street, Suite 200 Anywhere City, CA 22222 |
| Phone: | 916-222-1234 |
| FAX: | 916-222-4321 |
| Email: | janedoe@cityofanywhere.org |

The owner, manager, Certified Operator, or other Authorized Representative of the water utility must sign the certification form.  That person should have responsibility over the management and daily operation of the CWS, as well as knowledge of the development of the VA.

## XYZ Water System Utility Diagram

Security Vulnerability Self-Assessment for XYZ Water System

| ## General Questions for the Entire Water System The first 15 questions in this vulnerability self-assessment are general questions designed to apply to all components of your system (wellhead or surface water intake, treatment plant, storage tank(s), pumps, distribution system, and offices). These are followed by more specific questions that look at individual system components in greater detail. |  |  |  |
| --- | --- | --- | --- |
| QUESTION | ANSWER | COMMENT | ACTION NEEDED/TAKEN |
| 1. Do you have a written emergency response plan (ERP)? | Yes _X_ No __ | Under the provisions of the Public Health Security and Bioterrorism Preparedness and Response Act of 2002 you are required to develop and/or update an ERP within six months after completing this assessment. If you do not have an ERP, you can obtain a sample from your state drinking water primacy agency. As a first step in developing your ERP, you should develop your Emergency Contact List (see Attachment 2). A plan is vital in case there is an incident that requires immediate response. Your plan should be reviewed at least annually (or more frequently if necessary) to ensure it is up-to-date and addresses security emergencies including ready access to laboratories capable of analyzing water samples. You should coordinate with your LEPC. You should designate someone to be contacted in case of emergency regardless of the day of the week or time of day. This contact information should be kept up-to-date and made available to all water system personnel and local officials (if applicable). Share this ERP with police, emergency personnel, and your state primacy agency. Posting contact information is a good idea only if authorized personnel are the only ones seeing the information. These signs could pose a security risk if posted for public viewing since it gives people information that could be used against the system. | None |
| 2. Have you reviewed the U.S. EPA's Baseline Threat Information Document? | Yes __ No __ | This document can only be obtained now by calling EPA. It is important that you use this document to determine potential threats to your system and to obtain additional security related information. U.S. EPA should have provided a certified letter to your system that provided instructions on obtaining the threat document. |  |
| 3. Is access to critical components of the water system (i.e., a part of the physical infrastructure of the system that is essential for water flow and/or water quality) restricted to authorized personnel only? | Yes _X_ No __ | You should restrict or limit access to the critical components of your water system to authorized personnel only. This is the first step in security enhancement for your water system. Consider the following: - Issue water system photo identification cards for employees, and require them to be displayed within the restricted area at all times - Post signs restricting entry to authorized personnel and ensure that assigned staff escort people without proper ID. | None |

| QUESTION | ANSWER | COMMENT | ACTION NEEDED/TAKEN |
| --- | --- | --- | --- |
| 4. Are all critical facilities fenced, including well houses and pump pits, and are gates locked where appropriate? | Yes __ No _X_ | Ideally, all facilities should have a security fence around the perimeter. The fence perimeter should be walked periodically to check for breaches and maintenance needs. All gates should be locked with chains and a tamper-proof padlock that at a minimum protects the shank. Other barriers such as concrete "jersey" barriers should be considered to guard certain critical components from accidental or intentional vehicle intrusion. | Install fence around water tank. |
| 5. Are all critical doors, windows, and other points of entry such as tank and roof hatches and vents kept closed and locked? | Yes _X_ No __ | Lock all building doors and windows, hatches and vents, gates, and other points of entry to prevent access by unauthorized personnel. Check locks regularly. Dead bolt locks and lock guards provide a high level of security for the cost. A daily check of critical system components enhances security and ensures that an unauthorized entry has not taken place. Doors and hinges to critical facilities should be constructed of heavy duty reinforced material. Hinges on all outside doors should be located on the inside. To limit access to water systems, all windows should be locked and reinforced with wire mesh or iron bars, and bolted on the inside. Systems should ensure that this type of security meets with the requirements of any fire codes. Alarms can also be installed on windows, doors, and other points of entry. | none |
| 6. Is there external lighting around all critical components of your water system? | Yes __ No _X_ | Adequate lighting of the exterior of water systems' critical components is a good deterrent to unauthorized access and may result in the detection or deterrence of trespassers. Motion detectors that activate switches that turn lights on or trigger alarms also enhance security. | Install more lighting around office and parking lot. |
| 7. Are warning signs (tampering, unauthorized access, etc.) posted on all critical components of your water system? (For example, well houses and storage tanks.) | Yes __ No _X_ | Warning signs are an effective means to deter unauthorized access. "Warning - Tampering with this facility is a federal offense" should be posted on all water facilities. These are available from your state rural water association. "Authorized Personnel Only," "Unauthorized Access Prohibited," and "Employees Only" are examples of other signs that may be useful. | Order more warning signs and install them. |
| 8. Do you patrol and inspect all source intake, buildings, storage tanks, equipment, and other critical components? | Yes _X_ No __ | Frequent and random patrolling of the water system by utility staff may discourage potential tampering. It may also help identify problems that may have arisen since the previous patrol. All systems are encouraged to initiate personal contact with local law enforcement to show them the drinking water facility. The tour should include the identification of all critical components with an explanation of why they are important. Systems are encouraged to review, with local law enforcement, the NRWA/ASDWA Guide for Security Decisions or similar state document to clarify respective roles and responsibilities in the event of an incident. Also consider asking local law enforcement to conduct periodic patrols of your water system. | None |

| QUESTION | ANSWER | COMMENT | ACTION NEEDED/TAKEN |
| --- | --- | --- | --- |
| 9. Is the area around all the critical components of your water system free of objects that may be used for breaking and entering? | Yes _X_ No __ | When assessing the area around your water system's critical components, look for objects that could be used to gain entry (e.g.; large rocks, cement blocks, pieces of wood, ladders, valve keys, and other tools). | None |
| 10. Are all the entry points to your water system easily seen? | Yes _X_ No __ | You should clear fence lines of all vegetation. Overhanging or nearby trees may also provide easy access. Avoid landscaping that will permit trespassers to hide or conduct unnoticed suspicious activities. Trim trees and shrubs to enhance the visibility of your water system's critical components. If possible, park vehicles and equipment in places where they do not block off the view of your water system's critical components. | None |
| 11. Do you have an alarm system that will detect unauthorized entry or attempted entry at all critical components? | Yes _X_ No __ | Consider installing an alarm system that notifies the proper authorities or your water system's designated contact for emergencies when there has been a breach of security. Inexpensive systems are available. An alarm system should be considered whenever possible for tanks, pump houses, and treatment facilities. You should also have an audible alarm at the site as a deterrent and to notify neighbors of a potential threat. | None |
| 12. Do you have a key control and accountability policy? | Yes _X_ No __ | Keep a record of locks and associated keys, and to whom the keys have been assigned. This record will facilitate lock replacement and key management (e.g.; after employee turnover or loss of keys). Vehicle and building keys should be kept in a lockbox when not in use. You should have all keys stamped (engraved) "DO NOT DUPLICATE." | None |
| 13. Are entry codes and keys limited to water system personnel only? | Yes _X_ No __ | Suppliers and personnel from co-located organizations (e.g., organizations using your facility for telecommunications) should be denied access to codes and/or keys. Codes should be changed frequently if possible. Entry into any building should always be under the direct control of water system personnel. | None |
| 14. Do you have an updated operations and maintenance manual that includes evaluations of security systems? | Yes _X_ No __ | Operation and maintenance plans are critical in assuring the ongoing provision of safe and reliable water service. These plans should be updated to incorporate security considerations and the ongoing reliability of security provisions – including security procedures and security-related equipment. |  |
| 15. Do you have a neighborhood watch program for your water system? | Yes __ No _X_ | Watchful neighbors can be very helpful to a security program. Make sure they know whom to call in the event of an emergency or suspicious activity. | Develop neighborhood watch program for neighborhood. |

| ## Water Sources In addition to the above general checklist for your entire water system (questions 1-15), you should give special attention to the following issues, presented in separate tables, related to various water system components. Your water sources (surface water intakes or wells) should be secured. Surface water supplies present the greatest challenge. Typically they encompass large land areas. Where areas cannot be secured, steps should be taken to initiate or increase law enforcement patrols. Pay particular attention to surface water intakes. Ask the public to be vigilant and report suspicious activity. |  |  |  |
| --- | --- | --- | --- |
| QUESTION | ANSWER | COMMENT | ACTION NEEDED/TAKEN |
| 16. Are your wellheads sealed properly? | Yes _X_ No __ | A properly sealed wellhead decreases the opportunity for the introduction of contaminants. If you are not sure whether your wellhead is properly sealed, contact your well drilling/maintenance company, your state drinking water primacy agency, your state rural water association, or other technical assistance providers. | None |
| 17. Are well vents and caps screened and securely attached? | Yes _X_ No __ | Properly installed vents and caps can help prevent the introduction of a contaminant into the water supply. Ensure that vents and caps serve their purpose, and cannot be easily breached or removed. | None |
| 18. Are observation/test and abandoned wells properly secured to prevent tampering? | Yes _X_ No __ | All observation/test and abandoned wells should be properly capped or secured to prevent the introduction of contaminants into the aquifer or water supply. Abandoned wells should be either removed or filled with concrete. | None |
| 19. Is your surface water source secured with fences or gates? Do water system personnel visit the source? | Yes _X_ No __ | Surface water supplies present the greatest challenge to secure. Often, they encompass large land areas. Where areas cannot be secured, steps should be taken to initiate or increase patrols by water utility personnel and law enforcement agents. | None |

| ## Treatment Plant and Suppliers Some small systems provide easy access to their water system for suppliers of equipment, chemicals, and other materials for the convenience of both parties. This practice should be discontinued. |  |  |  |
| --- | --- | --- | --- |
| QUESTION | ANSWER | COMMENT | ACTION NEEDED/TAKEN |
| 20. Are deliveries of chemicals and other supplies made in the presence of water system personnel? | Yes _X_ No __ | Establish a policy that an authorized person, designated by the water system, must accompany all deliveries. Verify the credentials of all drivers. This prevents unauthorized personnel from having access to the water system. | None |
| 21. Have you discussed with your supplier(s) procedures to ensure the security of their products? | Yes __ No _X_ | Verify that your suppliers take precautions to ensure that their products are not contaminated. Chain of custody procedures for delivery of chemicals should be reviewed. You should inspect chemicals and other supplies at the time of delivery to verify they are sealed and in unopened containers. Match all delivered goods with purchase orders to ensure that they were, in fact, ordered by your water system. You should keep a log or journal of deliveries. It should include the driver's name (taken from the driver's photo I.D.), date, time, material delivered, and the supplier's name. | Discuss procedures with suppliers to verify their precautions. |
| 22. Are chemicals, particularly those that are potentially hazardous (e.g., chlorine gas) or flammable, properly stored in a secure area? | Yes _X_ No __ | All chemicals should be stored in an area designated for their storage only, and the area should be secure and access to the area restricted. Access to chemical storage should be available only to authorized employees. Pay special attention to the storage, handling, and security of chlorine gas because of its potential hazard. You should have tools and equipment on site (such as a fire extinguisher, drysweep, etc.) to take immediate actions when responding to an emergency. | None |
| 23. Do you monitor raw and treated water so that you can detect changes in water quality? | Yes _X_ No __ | Monitoring of raw and treated water can establish a baseline that may allow you to know if there has been a contamination incident. Some parameters for raw water should include pH, turbidity, total and fecal coliform, total organic carbon, specific conductivity, ultraviolet absorption, color, and odor. Routine parameters for finished water and distribution systems include free and total chlorine residual, heterotrophic plate count (HPC), total and fecal coliform, pH, specific conductivity, color, taste, odor, and system pressure. Chlorine demand patterns can help you identify potential problems with your water. A sudden change in demand may be a good indicator of contamination in your system. For those systems that use chlorine, absence of chlorine residual may indicate possible contamination. Chlorine residuals provide protection against bacterial and viral contamination that may enter the water supply. | None |
| 24. Are tank ladders, access hatches, and entry points secured? | Yes _X_ No __ | The use of tamper-proof padlocks at entry points (hatches, vents, and ladder enclosures) will reduce the potential for of unauthorized entry. If you have towers, consider putting physical barriers on the legs to prevent unauthorized climbing. | None |
| 25. Are vents and overflow pipes properly protected with screens and/or gates? | Yes _X_ No __ | Air vents and overflow pipes are direct conduits to the finished water in storage facilities. Secure all vents and overflow pipes with heavy-duty screens and/or gates. | None |
| 26. Can you isolate the storage tank from the rest of the system? | Yes _X_ No __ | A water system should be able to take its storage tank(s) out of operation or drain its storage tank(s) if there is a contamination problem or structural damage. Install shut-off or bypass valves to allow you to isolate the storage tank in the case of a contamination problem or structural damage. Consider installing a sampling tap on the storage tank outlet to test water in the tank for possible contamination. | None |

| ## Distribution Hydrants are highly visible and convenient entry points into the distribution system. Maintaining and monitoring positive pressure in your system is important to provide fire protection and to prevent introduction of contaminants. |  |  |  |
| --- | --- | --- | --- |
| QUESTION | ANSWER | COMMENT | ACTION NEEDED/TAKEN |
| 27. Do you control the use of hydrants and valves? | Yes _X_ No __ | Your water system should have a policy that regulates the authorized use of hydrants for purposes other than fire protection. Require authorization and backflow devices if a hydrant is used for any purpose other than fire fighting. Consider designating specific hydrants for use as filling station(s) with proper backflow prevention (e.g., to meet the needs of construction firms). Then, notify local law enforcement officials and the public that these are the only sites designated for this use. Flush hydrants should be kept locked to prevent contaminants from being introduced into the distribution system, and to prevent improper use. | None |
| 28. Does your system monitor for, and maintain, positive pressure? | Yes _X_ No __ | Positive pressure is essential for fire fighting and for preventing backsiphonage that may contaminate finished water in the distribution system. Refer to your state primacy agency for minimum drinking water pressure requirements. | None |
| 29. Has your system implemented a backflow prevention program? | Yes __ No _X_ | In addition to maintaining positive pressure, backflow prevention programs provide an added margin of safety by helping to prevent the intentional introduction of contaminants. If you need information on backflow prevention programs, contact your state drinking water primacy agency. | Implement backflow prevention program. |

| ## Personnel You should add security procedures to your personnel policies. |  |  |  |
| --- | --- | --- | --- |
| QUESTION | ANSWER | COMMENT | ACTION NEEDED/TAKEN |
| 30. When hiring personnel, do you request that local police perform a criminal background check, and do you verify employment eligibility (as required by the Immigration and Naturalization Service, Form I-9)? | Yes _X_ No __ | It is good practice to have all job candidates fill out an employment application. You should verify professional references. Background checks conducted during the hiring process may prevent potential employee-related security issues. If you use contract personnel, check on the personnel practices of all providers to ensure that their hiring practices are consistent with good security practices. | None |
| 31. Are your personnel issued photo-identification cards? | Yes _X_ No __ | For positive identification, all personnel should be issued water system photo-identification cards and be required to display them at all times. Photo identification will also facilitate identification of authorized water system personnel in the event of an emergency. | None |

| 32. When terminating employment, do you require employees to turn in photo IDs, keys, access codes, and other security-related items? | Yes _X_ No __ | Former or disgruntled employees have knowledge about the operation of your water system, and could have both the intent and physical capability to harm your system. Requiring employees who will no longer be working at your water system to turn in their IDs, keys, and access codes helps limit these types of security breaches. | None |
| --- | --- | --- | --- |
| 33. Do you use uniforms and vehicles with your water system name prominently displayed? | Yes _X_ No __ | Requiring personnel to wear uniforms, and requiring that all vehicles prominently display the water system name, helps inform the public when water system staff is working on the system. Any observed activity by personnel without uniforms should be regarded as suspicious. The public should be encouraged to report suspicious activity to law enforcement authorities. | None |
| 34. Have water system personnel been advised to report security vulnerability concerns and to report suspicious activity? | Yes _X_ No __ | Your personnel should be trained and knowledgeable about security issues at your facility, what to look for, and how to report any suspicious events or activity. Periodic meetings of authorized personnel should be held to discuss security issues. | None |
| 35. Do your personnel have a checklist to use for threats or suspicious activity? | Yes __ No _X_ | To properly document suspicious or threatening phone calls or reports of suspicious activity, a simple checklist can be used to record and report all pertinent information. Calls should be reported immediately to appropriate law enforcement officials. Checklists should be available at every telephone. Sample checklists are included in Attachment 3. Also consider installing caller ID on your telephone system to keep a record of incoming calls. | Develop checklist to document suspicious activity. |

| ## Information/Storage/Computers/Controls/Maps Security of the system, including computerized controls like a Supervisory Control and Data Acquisition (SCADA) system, goes beyond the physical aspects of operation. It also includes records and critical information that could be used by someone planning to disrupt or contaminate your water system. |  |  |  |
| --- | --- | --- | --- |
| QUESTION | ANSWER | COMMENT | ACTION NEEDED/TAKEN |
| 36. Is computer access “password protected?” Is virus protection installed and software upgraded regularly and are your virus definitions updated at least daily? Do you have Internet firewall software installed on your computer? Do you have a plan to back up your computers? | Yes _X_ No __ | All computer access should be password protected. Passwords should be changed every 90 days and (as needed) following employee turnover. When possible, each individual should have a unique password that they do not share with others. If you have Internet access, a firewall protection program should be installed on your side of the computer and reviewed and updated periodically. Also consider contacting a virus protection company and subscribing to a virus update program to protect your records. Backing up computers regularly will help prevent the loss of data in the event that your computer is damaged or breaks. Backup copies of computer data should be made routinely and stored at a secure off-site location. | None |
| 37. Is there information on the Web that can be used to disrupt your system or contaminate your water? | Yes _X_ No __ | Posting detailed information about your water system on a Web site may make the system more vulnerable to attack. Web sites should be examined to determine whether they contain critical information that should be removed. You should do a Web search (using a search engine such as Google, Yahoo!, or Lycos) using key words related to your water supply to find any published data on the Web that is easily accessible by someone who may want to damage your water supply. | None |
| 38. Are maps, records, and other information stored in a secure location? | Yes _X_ No __ | Records, maps, and other information should be stored in a secure location when not in use. Access should be limited to authorized personnel only. You should make back-up copies of all data and sensitive documents. These should be stored in a secure off-site location on a regular basis. | None |
| 39. Are copies of records, maps, and other sensitive information labeled confidential, and are all copies controlled and returned to the water system? | Yes _X_ No __ | Sensitive documents (e.g., schematics, maps, and plans and specifications) distributed for construction projects or other uses should be recorded and recovered after use. You should discuss measures to safeguard your documents with bidders for new projects. | None |
| 40. Are vehicles locked and secured at all times? | Yes _X_ No __ | Vehicles are essential to any water system. They typically contain maps and other information about the operation of the water system. Water system personnel should exercise caution to ensure that this information is secure. Water system vehicles should be locked when they are not in use or left unattended. Remove any critical information about the system before parking vehicles for the night. Vehicles also usually contain tools (e.g., valve wrenches) and keys that could be used to access critical components of your water system. These should be secured and accounted for daily. | None |

| ## Public Relations You should educate your customers about your system. You should encourage them to be alert and to report any suspicious activity to law enforcement authorities. |  |  |  |
| --- | --- | --- | --- |
| QUESTION | ANSWER | COMMENT | ACTION NEEDED/TAKEN |
| 41. Do you have a program to educate and encourage the public to be vigilant and report suspicious activity to assist in the security protection of your water system? | Yes _X_ No __ | Advise your customers and the public that your system has increased preventive security measures to protect the water supply from vandalism. Ask for their help. Provide customers with your telephone number and the telephone number of the local law enforcement authority so that they can report suspicious activities. The telephone number can be made available through direct mail, billing inserts, notices on community bulletin boards, flyers, and consumer confidence reports. | None |
| 42. Does your water system have a procedure to deal with public information requests, and to restrict distribution of sensitive information? | Yes _X_ No __ | You should have a procedure for personnel to follow when you receive an inquiry about the water system or its operation from the press, customers, or the general public. Your personnel should be advised not to speak to the media on behalf of the water system. Only one person should be designated as the spokesperson for the water system. Only that person should respond to media inquiries. You should establish a process for responding to inquiries from your customers and the general public. | None |
| 43. Do you have a procedure in place to receive notification of a suspected outbreak of a disease immediately after discovery by local health agencies? | Yes _X_ No __ | It is critical to be able to receive information about suspected problems with the water at any time and respond to them quickly. Written procedures should be developed in advance with your state drinking water primacy agency, local health agencies, and your local emergency planning committee and reviewed periodically. | None |
| 44. Do you have a procedure in place to advise the community of contamination immediately after discovery? | Yes _X_ No __ | As soon as possible after a disease outbreak, you should notify testing personnel and your laboratory of the incident. In outbreaks caused by microbial contaminants, it is critical to discover the type of contaminant and its method of transport (water, food, etc.). Active testing of your water supply will enable your laboratory, working in conjunction with public health officials, to determine if there are any unique (and possibly lethal) disease organisms in your water supply. It is critical to be able to get the word out to your customers as soon as possible after discovering a health hazard in your water supply. In addition to your responsibility to protect public health, you must also comply with the requirements of the Public Notification Rule. Some simple methods include announcements via radio or television, door-to-door notification, a phone tree, and posting notices in public places. The announcement should include accepted uses for the water and advice on where to obtain safe drinking water. Call large facilities that have large populations of people who might be particularly threatened by the outbreak; hospitals, nursing homes, the school district, jails, large public buildings, and large companies. Enlist the support of local emergency response personnel to assist in the effort. | None |
| 45. Do you have a procedure in place to respond immediately to a customer complaint about a new taste, odor, color, or other physical change (oily, filmy, burns on contact with skin)? | Yes _X_ No __ | It is critical to be able to respond to and quickly identify potential water quality problems reported by customers. Procedures should be developed in advance to investigate and identify the cause of the problem, as well as to alert local health agencies, your state drinking water primacy agency, and your local emergency planning committee if you discover a problem. | None |